# GEOTECHNICAL ENGINEERING LABORATORY

| CRTC Ref. No. | CRTC/CEE/G20220591 |  |  |  | Date of Issue |  | 12/04/2022 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Client Information | Salim Uddin & Kabir Khan, Soil Farm- Relation Soil Investigation, Sylhet, Bangladesh |  |  |  |  |  |  |
| Project Name | 09 Storied C/B (S-109), South Surma. |  |  |  |  |  |  |
| Sample | Undisturbed Soil | Sample ID |  | Sealing Type |  | Sealed |  |

## UNCONFINED COMPRESSIVE STRENGTH TEST OF COHESIVE SOIL (ASTM D 2166)

| Sample No. | Bore Hole No. | Depth (m) | Unconfined Compressive Strength (kN/m2) | Strain at Failure (%) |
| --- | --- | --- | --- | --- |
| 01 | 03 | 3.05 (10 ft) | 54.9 | 6.41 |

| Test Assisted By: |  | Test Performed By: |  | ### Countersigned By: |
| --- | --- | --- | --- | --- |
| ### A.H.M Humayun kabir Senior Technical Officer Dept. of CEE, SUST, Sylhet-3114 |  | ### Dr. Shriful Islam ### Associate Professor ### Dept. of CEE, SUST, Sylhet-3114 |  | ### Prof. Dr. H.M.A. Mahzuz ### Coordinator, CRTC ### Dept. of CEE, SUST, Sylhet-3114 |